Reproducing Results for ECG Arrhythmia Detection

1. How to Reproduce the Results

1. Database Preparation:

- Download the MIT-BIH Arrhythmia Database (MITDB) and MIT-BIH CU Ventricular Tachyarrhythmia Database (CUDB) from PhysioNet.

- Place all `.dat`, `.hea`, and `.atr` files in the `databases/` directory of the project.

2. Run the Training Script:

- Open `train_afib.m` in MATLAB.

- Execute the script. It will:

- Read all ECG records from the databases.

- Extract features using the Pan-Tompkins algorithm and custom logic.

- Prepare the dataset for AFIB (Atrial Fibrillation) vs. Normal classification.

- Train a linear SVM model using 5-fold cross-validation.

- Output performance metrics and save the trained model as `afib_model.mat`.

3. Dependencies:

- MATLAB (with Signal Processing Toolbox recommended)

- PhysioNet WFDB Toolbox for MATLAB (for reading `.dat`/`.hea`/`.atr` files)

2. Features Used for Training and Testing

Currently, the model uses the following features for each detected beat:

- R_peak_vals: Amplitude of the R peak

- Q_peak_vals: Amplitude of the Q peak

- S_peak_vals: Amplitude of the S peak

- T_peak_vals: Amplitude of the T peak

- RR_int: RR interval (time between consecutive R peaks, in seconds)

- QS_int: QS interval (time between Q and S peaks, in seconds)

These features are extracted for each rhythm segment and used to train and test the SVM classifier.

3. Current Results:

- Mean Accuracy: 67.5% ± 1.8%

- Mean Precision: 0.56 ± 0.02

- Mean Recall: 0.40 ± 0.01

- Mean F1 Score: 0.38 ± 0.01

- Mean AUC: 0.61 ± 0.01

4. How to Improve Accuracy

- Data Cleaning:

- Remove noisy or artifact-laden segments.

- Better outlier detection and removal for RR intervals and amplitudes.

- Model Tuning:

- Try different SVM kernels (e.g., RBF) or other classifiers (Random Forest, XGBoost, Neural Networks).

- Class Imbalance Handling:

- Use more advanced resampling or weighting strategies.

- Improved Feature Extraction.

---

For more details, see the code comments and the README files in the project.